Xenon - An Introduction to Neutron Poisons

### Background

During the early operation of the Stagg Field and Hanford reactors, the scientists found that some nuclides were produced that caused the reactor to shutdown. These nuclides came to be known as - neutron poisons - because they stopped the neutrons from being absorbed in the fuel and causing fission. Xenon-135 was one of the first poisons identified. For a reactor just starting up, the behavior of xenon-135 is shown below.

Xenon-135 (Xe135)

Xenon-135 is one of the many products produced from the fissioning of uranium, thorium, or plutonium nuclides. Xe135 is produced directly from fission and from the BETA decay of Tellurium-135, as shown below. The Xe135 subsequently beta decays to Cesium-135 then to Barium-135. The half-lives are shown in RED below the line.

Te135  ==============>   I135  ==============>  Xe135  ==============>  Cs135  ==============>   Ba135

<0.5 min                                  6.7 hr                                       9.2 hr                                         2 x 106 yr

Following a shutdown the xenon concentration increases as shown in the figure below:

Note that the xenon peaks then falls off to almost xenon-free after 72 hours.

Further investigation shows that the size of the increase and the time to peak depends on the power level the reactor has been operating at, as shown below:

If the reactor is to be started up when the xenon is at the peak, there must be sufficient fuel and control rod worth to overcome the effects of the xenon.

Other neutron poisons buildup in the reactor and their effects must be similarly considered in the design and operation. These include:

- Samarium-149

- Fission products

Other neutron poisons are purposely used in the design and operation of reactors. These include:

- Neutron absorbers used in the control rods (e.g. silver, indium, cadmium, hafnium, boron, and boron carbide).

- Neutron absorbers used in the coolant (e.g. boron in boric acid)

- Neutron absorbers used for emergency shutdown (boron in boric acid and potassium pentaborate)

- Neutron absorbers used as "burnable poisons" in the fuel for controlling the distribution of power generated in the reactor (e.g. boron, gadolinium)

Copyright © 1996-2008. The Virtual Nuclear Tourist. All rights reserved. Revised: November 3, 2008.